## Slide 1: 2011 Thule Gr & MLO HI Site Reports
J Hannigan, M. Coffey, R. Batchelor

## Slide 2
Welcome!
Maia Jane Okraszewski
September 26 2011, 7:45pm

## Slide 3
Recent / Current Publications
Intense Arctic Ozone Depletion in the Spring of 2011, James W. Hannigan, Rebecca L. Batchelor and M.T. Coffey, accepted to Arctic, April 2012
Analysis of ozone and nitric acid in spring and summer Arctic pollution using aircraft, ground-based, satellite observations and MOZART-4 model: source attribution and partitioning, C. Wespes, L. Emmons, D. P. Edwards, J. Hannigan, D. Hurtmans, M. Saunois, P.-F. Coheur, C. Clerbaux, M. T. Coffey, R. Batchelor, R. Lindenmaier, K. Strong, A. J. Weinheimer, J. B. Nowak, T. B. Ryerson, J. D. Crounse, and P. O. Wennberg, Atmos. Chem. Phys. Discuss., 12, 237-259, doi:10.5194/acp-12-237-2012, 2012 www.atmos-chem-phys-discuss.net/11/23707/2011/
Observed and simulated time evolution of HCl, ClONO2, and HF total column abundances, R. Kohlhepp, R. Ruhnke, M.P. Chipperfield, M. De Mazière, J. Notholt, S. Barthlott, R.L. Batchelor, R.D. Blatherwick, Th. Blumenstock, M.T. Coffey, P. Demoulin, P. Duchatelet, H. Fast, W. Feng, A. Goldman, D.W.T. Griffith, K. Hamann, J.W. Hannigan, F. Hase, N.B. Jones, A. Kagawa, I. Kaiser, Y. Kasai, O. Kirner, W. Kouker, R. Lindenmaier, E. Mahieu, R.L. Mittermeier, B. Monge-Sanz, I. Murata, H. Nakajima, I. Morino, M. Pal,, C. Paton-Walsh, U. Raffalski, Th. Reddmann, M. Rettinger, C.P. Rinsland, E. Rozanov, M. Schneider, C. Senten, B.-M. Sinnhuber, D. Smale, K. Strong, R. Sussmann, J.R. Taylor, G. Vanhaelewyn, T. Warneke, C. Whaley, M. Wiehle, and S.W. Wood, Atmos. Chem. Phys., 12, 3527–3557, 2012 www.atmos-chem-phys.net/12/3527/2012/ doi:10.5194/acp-12-3527-2012
Validation of HIRDLS CFC11 and CFC12 Observations, M.T. Coffey, Bruno Nardi, Valery Yudin, James Hannigan, Rashid Khosravi, John Gille, et al in prep JGR

## Slide 4
Re-analysis Using IRWG Strategies
GEOMS compliant HDF-4, sfit2 v3.94, HITRAN 08
One gas – year / file
MLO (1995-2011)
Archived (or just about): HCl, HF, HNO3, O3, CO
In process N2O, HCN, C2H6, CH4
ClONO2 may be below detection limit on per spectrum basis
TAB (1999-2011)
Archived HCl, HF, HNO3, ClONO2, CO, O3
In process C2H6, N2O, HCN, CH4

## Slide 5
Moved to new building August 2011
1.5km from previous site on South Mountain
Same altitude
Thule News

## Slide 6
Now All Instruments are in “NDACC” Building
UV spectro-radiometer - DMI
Sun photometer - AERONET/NASA
Aerosol LIDAR - U Rome
Microwave Radiometer - INGV Rome
O3 Sondes (winter) - DMI
Aerosol Sampler - U Sienna
IR Radiometer - U Sienna
Solar FTS - NCAR

## Slide 7
Partial columns of CFC11 and CFC12 between 8.8 and 26.2 km from HIRDLS measurements (shown in red) convolved with the Thule averaging kernel and partial columns for the same altitude range from the ground-based infrared observations (shown in black). HIRDLS observations are contained in a 1000 km box centered on the Thule, Greenland site (76.5N, 68.7W). The time difference between the satellite and ground observations is +/- 6 hours. 200 HIRDLS observations are included for the period from March 2005 to October 2007. (Coffey et al in prep)
Time series Comparison CFC-11 & CFC-12 at Thule

## Slide 8
O3
HF
HCl
NCEP Temperature
HNO3
Profiles of several species and temperatures showing the dramatic state of the 2011 Arctic Winter/Spring vortex and O3 loss over Thule, GR. Curve A 2000-2010 mean March outside vortex (2.5PVU @PT=440K). Curve B 2000-2010 mean March inside vortex (3.2PVU @PT=440K) and Curve C mean March 2011 (all inside). Horizontal bars are the standard deviation of observations at 3 select altitudes..

## Slide 9
MLO News
Nominal operation began late Oct. 2009
Instrument failed February 2010
Shipped back to Ettlingen, Aug 2010
Installation August 2011
!! Loss of 17months
Other modifiations:
Beamsplitter block
125 Detector chamber & electronics
New 418mm OAP
2 Aperture wheels
Second filter wheel
Oct. DAC/MCT Bias Lost
Jan. Install web I-F UPS and PDU
Feb. Tracker limit switch failed
April PC boot sector / raid system fail
May Laser Freq. Stabil. Failed (SIOS) – replace ASAP
Autonomous operation at 90%

## Slide 10
Installation August 2011

## Slide 11
ILS measurements with Cell #20 August 2011
64 scans
1 of 14 individual fits to HBr features
Modulation Eff. And Phase from Linefit 11
ILS fwhm = 0.003cm-1
Notes: MLO/HBr/2011/post.rotate
64 scans

## Slide 12
HCl HALOE MLO
HCl MLS MLO
Stitching Remote Sounding datasets
Planned:
Seasonal / annual corrections
More ground sites
More interesting gases
  CH4, trop O3, CO, CH3OH…
Stitched global fields
Assess with MOZART4
“Bridging the gap: Using ground based FTIR measurements to link the satellite record”, Batchelor et al., submitted JGR September 2011
Initially:
HCl, HF at TAB & MLO
  long term at a single site
UARS HALOE / MLS, Aura MLS
‘DC’ bias corrected
Altitude resolved

## Slide 13: WACCM – FTS Seasonal Comparisons with B. Randel, M. Park, D. Kinnison
Thule, Bremen, Ny Alesund
CO, HCN, C2H6, C2H2
Compare hydrocarbons simulated in WACCM with ground-based FTIR
WACCM = Whole Atmosphere Community Climate Model (0-80 km).
  Simulations using time-varying emissions and ‘nudged’ meteorology
Notes: Work initially shown at Reunion

## Slide 14
lifetime:
~2 months
~2 months
~2 weeks
CO
C2H6
C2H2
Bremen 53o N

## Slide 15
lifetime:
~2 months
~2 months
> 4 months
CO
C2H6
HCN
Thule 77o N
winter-spring
maximum
spring-summer
maximum

## Slide 16
CO
HCN
note interannual
variability
Mauna Loa 20o N

## Slide 17
Ny Alesund
79o N
HCN maximum following 1997 ENSO event (enhanced burning)
Mauna Loa
20o N