## Slide 1: GUI-extension for Align D. Smale, F. Hase contact: <d.smale@niwa.co.nz>
‘GUI’ Shell for Align51 (Linefit ver9,Hase, 2002)
-modifies input file align5.inp and executes Align51.exe
Visualisation and Diagnostic tool relating Bruker 120M/120HR type corner cube misalignment to ILS and Haidinger fringes.
Included in Linefit ver10 release
Coded in IDL, will run under IDL v5.4 or later versions.

## Slide 2: GUI_ALIGN51 screen shot: sample
User defined instrument parameters and corner cube misalignment parameters.
Execute align51
Align51 output displayed.