## Slide 1
Ground-based retrievals of aerosol properties
using Emission FTIR and Raman-Lidar KARL measurements
Denghui Ji, Mathias Palm, Christoph Ritter,
Philipp Richter,Matthias Buschmann, and Justus Notholt
04.06.2021
denghui_ji@iup.physik.uni-bremen.de

## Slide 2
ArctiC Amplification:
Climate Relevant Atmospheric
and SurfaCe Processes and Feedback Mechanisms (AC)3
The overarching goals are:
To identify, investigate, and evaluate the key processes contributing to Arctic amplification, to improve the understanding of the local and remote feedback mechanisms, and to quantify their relative importance for Arctic amplification.
(a) Zonally averaged, near-surface air temperature anomaly, averaged over the boreal winter season (December, January, February). The anomaly is deined as the difference to the respective mean values for 1951– 1980. The abscissa represents time (year) and the ordinate shows the geographic latitude (degree). (b) Linear trend of the winter–mean near-surface air temperature (north of 60°N) for 1990-2019. Data are provided by the NASA Goddard Institute for Space Studies Team (https://data.giss.nasa.gov/gistemp/). Figure (a) is adopted from Wendisch et al. (2017).
E02: NY-ÅLESUND COLUMN THERMODYNAMIC STRUCTURE, CLOUDS, AEROSOLS, TRACE GASES AND RADIATIVE EFFECTS
Notes: Ny–Ålesund, located in the warmest part of the Arctic, exhibits distinct dynamic and radiative effects that are indicative for the transition from polar to maritime climate.

## Slide 3
Aerosol in the Arctic
Several studies have shown that surface mass concentrations of sulfate, organic material and black carbon 3-10 times lower than those estimated from studies conducted prior to 1981 (Fisher et al., 2011; Frossard et al., 2011; Leaitch et al., 2018; Massling et al., 2015; Sharma et al., 2017; Sinha et al., 2017)
BC deposits to snow and ice, lowering the surface albedo.
Dust, when present in layers over high-albedo surfaces and/or deposited to the snow, will warm the atmosphere.
Sulfate, organic matter, sea salt help to cool the Arctic by scattering light back to space and by modifying the microphysics of liquid clouds.
Ren L, Yang Y, Wang H, et al. Source attribution of Arctic black carbon and sulfate aerosols and associated Arctic surface warming during 1980–2018[J]. Atmospheric Chemistry and Physics, 2020, 20(14): 9067-9085.
BC
Sulfate
Notes: Warming and sea ice loss in the Arctic are affecting the complex interactions between the atmosphere, ocean, land, and ice-covered areas, including the formation and transport of aerosol.

## Slide 4
FTIR emission spectrometry
From: https://niwa.co.nz/news/man-mission
For the purpose of measuring aerosols in the troposphere, a Fourier-Transform InfraRed spectrometer (FTS) for measuring down-welling emission and a Raman-Lidar are operated at the AWIPEV research base in Ny-Ålesund, Spitsbergen (78°N).
Our instrument:
Wave number range: 400-2500 cm-1
Resolution: 0.03cm-1

## Slide 5
An example of
Atmospheric emission spectrum of different aerosol types
Simulation from forward model: LBLRTM + DISORT
AOD=1 at 900cm-1, a single mode lognormal size distribution, same TPW profile

## Slide 6
Retrieval method
Optimal estimation method
The parameter vector:
The retrieval of microphysical aerosol parameters is a nonlinear problem, so an iterative algorithm is needed:
The aim of the iterations is to minimize the cost function:
Richter, P., Palm, M., Weinzierl, C., Griesche, H., Rowe, P. M., and Notholt, J.: Retrieval of microphysical cloud parameters from EM-FTIR spectra measured in Arctic summer 2017, Atmos. Meas. Tech. Discuss. [preprint], https://doi.org/10.5194/amt-2020-266, 2020.
We use a modified version of the algorithm described by Richter et. al. (2020):

## Slide 7
LBLDIS aerosol retrieval algorithm
Atmospheric state
(ERA5 reanalysis data)
DISORT : calculates the radiative transfer process
LBLRTM:
AOD (gaseous absorbers)
Optimal estimation method
Raman-Lidar KARL (Aerosol height)
Simulated radiance spectra
Get the aerosol properties

## Slide 8
Raman-Lidar KARL measurements
Aerosol Backscatter Coefficient:
Notes: This depolarization is a measure of the particles’ shape as spherical scatters do not show any depolarization.
This CR is a rough estimate of the particle size.
The LR is mainly depending on the refractive index, and hence the chemical composition of the aerosol, but also on size (larger for small aerosol, Doherty et al., 1999; Ferrare et al., 2001) and shape (larger for non-spherical particles, Michshenko et al., 1997).

## Slide 9
Star marks represents Lidar AOD measurement at 532 nm from 100m to 1500m
The lines show 30-mins smoothed data.
Case study Ⅰ: 10.06.2020

## Slide 10
FLEXPART backward Runs
Aerosol tracer, 8 days
Dust, 8 days
Start time: 10.06.2020, 14:00
Particles released at 500 m above ground level at NY.
s

## Slide 11
The lines show 30-mins smoothed data
Case study Ⅱ: 03.04.2020
Instrument
problem

## Slide 12
FLEXPART backward Runs
Aerosol tracer, 8 days
Start time: 03.04.2020, 17:00
Particles released at 2000 m above ground level at NY.
s

## Slide 13
Averaging Kernal

## Slide 14
Summary
A FTIR instrument for down-welling emission measurements and Raman-Lidar are operated in Ny-Ålesund. Combining the two observations, the aerosols can be observed more comprehensively.
Based on FTIR emission measurements, a retrieval algorithm for aerosol types and optical thickness is being developed.
Case studies of those retrievals are analyzed using measurements obtained on June 10th, 2020 and April 03th, 2020 .
Future Look
We may extend our method to the other polar sites, the Canadian Network for the Detection of Arctic Change (CANDAC) site at Eureka, Nunavut, Canada (80°N, 86°W) and the Atmospheric Radiation Measurement (ARM) program site at Barrow, Alaska (71°N, 156°W).
Eureka
Barrow
https://dmaps.com/m/world/arctique/arctique10.pdf.

## Slide 15
Questions, comments are welcomed.
Thank you!

## Slide 16
Supplementary materials
Europe (EUR), North America (NAM), Central
America (CAM), South America (SAM), northern Africa
(NAF), southern Africa (SAF), the Middle East (MDE),
Southeast Asia (SEA), Central Asia (CAS), South Asia
(SAS), East Asia (EAS), Russia–Belarus–Ukraine (RBU,
hereafter Russia), Pacific–Australia–New Zealand (PAN),
the Arctic (ARC), the Antarctic (ANT), and non-Arctic and
non-Antarctic oceans (OCN).

## Slide 17
Lidar Classification method:
Ritter et. al. (2016)

## Slide 18
FLEXPART backward Runs
Aerosol tracer, 8 days
Start time: 10.06.2020, 11:00
Particles released at 300 m above ground level at NY.

## Slide 19
&SPECIES_PARAMS
PSPECIES="AERO-TRACE", ! Tracer name
PDECAY=-9.9, ! Species half life
PWETA_GAS=-0.9E-9, ! Below-cloud scavenging (gases) - A (weta_gas)
PWETB_GAS=-9.9, ! Below-cloud scavenging (gases) - B (wetb_gas)
PCRAIN_AERO=1.0, ! Below-cloud scavenging (particles) - Crain (crain_aero)
PCSNOW_AERO=1.0, ! Below-cloud scavenging (particles) - Csnow (csnow_aero)
PCCN_AERO=0.9, ! In-cloud scavenging (particles) - CCNeff (ccn_aero)
PIN_AERO=0.1, ! In-cloud scavenging (particles) - INeff (in_aero)
PDENSITY=1400.0, ! Dry deposition (particles) - rho
PDQUER=2.5E-07, ! Dry deposition (particles) - dquer
PDSIGMA=1.25, ! Dry deposition (particles) - dsig
PDRYVEL=-9.99, ! Alternative: dry deposition velocity
PRELDIFF=-9.9, ! Dry deposition (gases) - D
PHENRY=-0.9E-9, ! Dry deposition (gases) - Henrys const.
PF0=-9, ! Dry deposition (gases) - f0 (reactivity)
PWEIGHTMOLAR=-9.9, ! molweight
POHCCONST=-0.9E-9, ! OH Reaction rate - C [cm^3/molecule/sec]
POHDCONST=-9.9, ! OH Reaction rate - D [K]
POHNCONST=2.0, ! OH Reaction rate - N (no unit)
/
&SPECIES_PARAMS
PSPECIES="DUST-401",
PDECAY=-999.9,
PWETA_GAS=-9.9,
PWETB_GAS=-9.9,
PCRAIN_AERO=1.0,
PCSNOW_AERO=1.0,
PCCN_AERO=0.45,
PIN_AERO=0.1,
PDENSITY=2.5e3,
PDQUER=0.04e-6,
PDSIGMA=2.236,
PDRYVEL=-9.99,
PRELDIFF=-9.9,
PHENRY=1.0E-9,
PF0=-9.99,
PWEIGHTMOLAR=-9.99,
POHCCONST=-9.99E-09,
POHDCONST=-9.9,
POHNCONST=-9.9,
/

## Slide 20
Turner D. D. 2008

## Slide 21
Height (m) | AOD | Difference | Error
1600 | 0.2208 | 0.0056 | 0.1206
1800 | 0.2249 | 0.0097 | 0.1306
1900 | 0.2249 | 0.0097 | 0.1306
2000 | 0.2152 | 0 | 0.1329
2200 | 0.2152 | 0 | 0.1329
2400 | 0.2182 | 0.003 | 0.1081

## Slide 22
Total power calibration