## Slide 1: IRWG Report to the NDACC SC
Jim Hannigan
Martine De Maziere

## Slide 2
2008 IRWG Meeting Pasadena
  Special Reports
Status of the Sites
New Archival Species
Retrieval Parameter Consistency Exercise
Satellite Validation
IRWG Website

## Slide 3: IRWG Meeting 2008
Pasadena / Geoff Toon
12 – 14 May 2007
42 Attendees
22 Science talks / 21 site reports
Report from Bruker Optik GmbH – A. Simon
Open meeting w/ CEOS CO2 workshop
1 day TCCON meeting followed
Web site introduction
Report from Archive group / Error analysis group
IRWG 2009: June 9-12, hosted by R. Sussmann, IMK at Garmisch-Partenkirchen

## Slide 4: IRWG Meeting 2008 cont.
Update on GOSAT & Validation Plan
Report on joint working group meeting on O3
Report on GCOS/GRUAN meeting
Report on CAVIAR project

## Slide 5
 | Site | PI | SR | Last Archive | Last Data | Pubs | Unique | # Obs. | Funding | Inst. | Agency
 |  |  | 2008 | Date | Archived | 2008 | Pubs | Days |  |  | 
PRIMARY |  |  |  |  |  |  |  |  |  |  | 
1 | Arrival Heights | Stephen. W. Wood | Y | Mar-2008 | Mar-2008 | 8 |  | 43 | 2012 | 120M | NZFRST, DU, NZAI
2 | Eureka | Kim Strong | Y | - | - | 2 | 2 | 132 | 2010 | 125HR | Univ Toronto
2 | Eureka | Hans Fast | Y | Nov-2007 | Mar-2006 | 1 | 1 | 51 | Ending | DA8 | CSA, EC
3 | Jungfraujoch | Ph. Demoulin | Y | Dec-2006 | Nov-2007 | 0 | 0 | 121 | to CY08 | 120HR | 
4 | Lauder | Stephen. W. Wood | Y | Mar-2008 | Nov-2007 | 7 | 1 | 90 | 2012 | 120HR | NZFRST
5 | Ny-Ålesund | Justus Notholt | Y | Dec-2007 | Nov-2006 | 1 | 0 | 17 | OK | 120HR | ESA, EU
6 | Thule | M. T. Coffey | Y | Aug-2008 | Nov-2007 | 5 | 5 | 50 | FY08/pend | 120M | NASA
7 | Zugspitze | Ralf Sussmann | Y | Aug-2008 | Dec-2007 | 5 | 3 | 135 | OK | 120HR | Helmholtz, ESA
8 | Mauna Loa | Frank Murcray | Y | Jul-2008 | Dec-2007 | 0 | 0 | 94 | FY08/pend | 120HR | NASA
COMPLEMENTARY |  |  |  |  |  |  |  |  |  |  | 
9 | Bremen | Justus Notholt | Y | Dec-2007 | Nov-2007 | 1 | 1 | 71 | OK | 125HR | UB, ESA, EU
10 | Izaña | Thomas Blumenstock | Y | May-2008 | Dec-2007 | 14 | 6 | 112 | OK | 125HR | IMK
11 | Kiruna | Thomas Blumenstock | Y | May-2008 | Dec-2007 | 12 | 2 | 65 | OK | 120HR | IMK
12 | Kitt Peak | Curtis Rinsland |  | Jun-2005 | Jun-2005 |  |  | 0 | None | McMath | NSO, NASA
13 | Moshiri | Tomoo Nagahama | Y | Apr-2008 | Dec-2004 | 1 | 1 | 0 | OK | 120HR | STEL
14 | Polarstern | Justus Notholt |  | Apr-2005 | Nov-2003 |  |  | 0 | OK | 120M | UB, ESA, EU
15 | Rikubetsu | Tomoo Nagahama | Y | Apr-2008 | Dec-2004 | 1 | 0 | 48 | OK | 120M | STEL
16 | Toronto | Kimberly Strong | Y | Sep-2007 | Dec-2006 | 8 | 4 | 96 | OK | DA8 | NSERC, CFCAS, CSA, EC
17 | Wollongong | Nicholas B. Jones | Y | Oct-2007 | Dec-2006 | 8 | 3 | 130 | OK | DA8/125HR | 
18 | Harestua | Johan Mellqvist | Y | Dec-2007 | Dec-2007 | 3 | 0 | 69 | OK, yearly | 120M | SEPA, EU
19 | Mt. Barcroft | Geoff Toon |  |  |  |  |  |  |  | Mk4 | 
ASSOCIATED |  |  |  |  |  |  |  |  |  |  | 
20 | Reunion Is | M de Mazier | Y | - | - | 10 | 1 | 107 | campaign | 120M | BIRA
21 | Egbert | Richard Mittermeirer |  | - | - |  |  |  | ? | DA8 | EC
22 | Poker Flat | Yasuko Kasai | Y | - | - | 12 | 4 | 100 | OK | 120HR | NICT
23 | Syowa Sta. Ant. | Hideaki Nakajima | Y | - | - | 0 | 0 | 87 | campaign | 120M | NIPR / MEJ
24 | Tsukuba | Hideaki Nakajima |  | - | - |  |  |  | OK | 120HR | MEJ
 |  |  |  | - | - |  |  |  |  |  | 
NIR |  |  |  |  |  |  |  |  |  |  | 
24 | Park Fall, WI | Paul Wennburg |  | - | - |  |  |  | OK | 120HR | OCO
25 | Darwin, AUS | David Griffiths |  | - | - |  |  |  | to 2010 | 120HR | OCO
26 | Tsukuba | Isamu Morino |  | - | - |  |  |  | OK | 120HR | NEIS
4 | Lauder | Stephen. W. Wood |  |  |  |  |  |  |  |  | 
 |  |  |  |  |  | ------ | -------- | ------- |  |  | 
 |  |  |  |  |  | 99 | 34 | 73.5 |  |  | 
 |  |  |  |  |  | total | total | mean |  |  | 

## Slide 6: Associated Meeting Participation
GRUAN Lindenberg, Germany. February, 2008
  Tom Gardiner, NPL attended & reported at IRWG in May
  Outcome for IRWG:
    In contact with Holger Vomel concerning tropospheric H2O and creating homogeneous data sets from various instruments / retrievals algorithms etc.
Inter-Working Group O3, Geneva, Switzerland, April, 2008
  Corinne Vigouroux BIRA-IASB, Matthias Schneider, IMK attended
  Martine De Maziere reported at IRWG in May
  Outcome / Suggestions
    Annual meetings suggested
    More validation exercises between instrument types (mobile instruments?)
    Improve spectroscopic parameters – better consistency across E-M regions

## Slide 7: Expanding FTS Data Products at NDACC-DHF
Species measured by hi-resolution ground-based solar FTS in mid-IR, approx. DOFS from present analysis techniques
Species | DOFS | Species | DOFS
HCl ∆ | 2.5 - 4 | CH4 | 2.5 - 3.5
ClONO2 | 1* | CO | 2.5 - 4
HF | 2.5 - 3.5 | C2H2 | < 2
COF2 | < 2 | C2H6 | < 2
HNO3 ∆ | 2.5 - 4 | OCS | 3 - 4.5
NO2 | < 2.5 | HCN | < 2.5
NO | < 2 | SF6 | 1*
N2O | 3 - 5 | N2 | 
CCl2F2 | 1* | CO2 | 2 - 3.5
CHClF2 | 1* | CCl3F | 1*
O3 ∆ | 3 - 5 | H2CO | 1
ClO | 1 |  | 
* Limited by spectroscopy
Initial total column required product
Suggested new total column product
Suggested new profile products:
  O3
  HCl
  HNO3
  CO
  N2O
  CH4

## Slide 8: Expanding FTS Data Products at NDACC-DHF cont.
 | Site | HCl | HF | HNO3 | N2O | O3 | ClONO2 | CH4 | CO | NO2 | NO | C2H6 | OCS | C2H2 | HCN | H2O | COF2 | CO2 | CHF2Cl | N2 | CCL2F2 | H2CO | NH3 | HDO | SF6 | HCOOH
 |  | 1 | 2 | 3 | 4 | 5 | 6 | 13 | 14 | 8 | 9 | 17 | 18 | 15 | 19 | 24 | 7 | 21 | 11 | 20 | 10 | 23 | 16 | 25 | 26 | 27
Primary |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 
1 | Arrival Heights | 1 |  | 1 | 1 | 1 | 1 | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 
2 | Eureka | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  | 1 | 1 |  |  |  |  |  | 1 |  |  |  |  |  |  |  |  | 
3 | Jungfraujoch | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  |  | 1 | 1 |  |  |  |  |  |  |  |  |  |  |  |  | 
4 | Lauder | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 
5 | Ny-Ålesund | 1 | 1 | 1 | 1 | 1 |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  | 1 |  | 1 |  | 1 |  |  |  | 
6 | Thule | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  |  |  | 1 |  |  |  | 1 | 1 | 1 |  | 1 |  |  |  |  | 
7 | Zugspitze | 1 | 1 |  | 1 | 1 | 1 | 1 | 1 |  |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  | 
8 | Mauna Loa | 1 | 1 | 1 | 1 | 1 |  |  | 1 | 1 | 1 | 1 |  | 1 | 1 |  |  |  | 1 |  |  |  |  |  |  | 
Complementary |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 
9 | Bremen | 1 | 1 | 1 | 1 | 1 |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  | 1 |  | 1 |  | 1 |  |  |  | 
10 | Izaña | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  | 1 |  |  | 1 |  |  |  |  |  |  |  |  |  | 
11 | Kiruna | 1 | 1 | 1 | 1 | 1 | 1 |  | 1 | 1 | 1 |  |  |  |  | 1 | 1 |  |  |  |  |  |  |  |  | 
12 | Kitt Peak |  |  | 1 |  |  |  |  | 1 |  |  | 1 |  |  | 1 |  |  |  |  |  |  |  |  |  |  | 
13 | Moshiri | 1 | 1 | 1 |  | 1 | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 
14 | Polarstern | 1 | 1 | 1 | 1 | 1 |  | 1 | 1 | 1 |  | 1 | 1 | 1 | 1 | 1 |  | 1 |  | 1 |  | 1 |  |  |  | 
15 | Rikubetsu | 1 | 1 | 1 |  | 1 | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 
16 | Toronto | 1 | 1 |  | 1 | 1 |  | 1 |  | 1 | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 
17 | Wollongong | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  | 1 | 1 | 1 | 1
18 | Harestua | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  |  |  |  | 1 |  |  | 1 |  | 1 |  | 1 |  |  |  |  | 
Total columns of gases archived by site (from 2007 SR form)
Red – Initial required gases
Blue – Newly required IRWG Meeting 2007

## Slide 9
SATELLITE VALIDATION OF COLUMN-AVERAGED METHANE ON GLOBAL SCALE: GROUND-BASED DATA FROM 15 FTIR STATIONS VERSUS LAST GENERATION ENVISAT/SCIAMACHY RETRIEVALS
R. Sussmann(1), F. Forster(1), T. Borsdorff(1), M. DeMazière(2), B. Dils(2), C. Vigouroux(2), T. Blumenstock(3), M. Buchwitz(4), P. Demoulin(5), P. Duchatelet(5), C. Frankenberg(6), J. Hannigan(7), F. Hase(3), N. Jones(8), J.Klyft(9), I. Kramer(3), E. Mahieu(5), J. Mellqvist(9), J. Notholt(4), K. Petersen(4), O. Schneising(4), A. Strandberg(9), K. Strong(10), J. Taylor(10), S. Wood(11)
Satellite Validation / Network Consistency

## Slide 10
Increasing consistency across the network
Common initial profiles but shifted to account for tropopause height at site
Common regularization matrix
Common altitude grid
(implied consistent data quality)
Satellite Validation / Network Consistency cont.
i) Homogenized CH4 retrieval strategy for all stations; this homogenized retrieval strategy is the key to get reliable biases for our validation paper on the global scale; thereby it will be able to demonstrate advanced NDACC network consistency via global scale satellite validation;
ii) The inconsistency of the retrieval strategy between the different sites was the major unresolved point in the Dils 2006 paper - we have demonstrated a solution now;
Initial conclusions of study:

## Slide 11
Satellite Validation / Network Consistency

## Slide 12: Candidate Sites & Instrument Upgrades
Poker Flat, AK, USA (65N, 147W, 610masl)
  Candidate for complementary site
Il de la Reunion ( 21S, 55E, 2203masl)
  Candidate for complementary site
Eureka, Nunavut, CA (80N, 86W, 610masl)
  Change of PI and instrument
Wollongong, Aus (35S, 151E, 25masl)
  Change of instrument
Syowa Station, Antarctica ( 69S, 39E, 20masl)
  Candidate for complementary site
Lauder, NZ (45S, 170E, 370masl)
  New 125HR for mid-IR … soon
Addis Ababa, Ethiopia (9°N, 39°O, 3000 masl)
  No news
Ascension Is. (8S, 14W)
  NIR FTS

## Slide 13
Eureka, Nunavut, CA (80N, 86W, 610masl)
Primary status near complete
  PI: Kim Strong, UT, Hans Fast EC / Referee: Mike Coffey, NCAR
  Change of instrument and PI at primary site
  Submitted paper on intercomparison
Three ground-based FTS instruments were in operation throughout
the campaign:
PARIS: U of Waterloo 0.02 cm-1 resolution campaign FTS (version of the ACE FTS on SciSat-1).
Bomem DA8: EC 0.0035 cm-1 resolution FTS, in place since 1993
Bruker IFS125HR: CANDAC 0.00245 cm-1 resolution FTS, in place since July 2006

## Slide 14
●
Poker Flat, AK, USA (65N, 147W, 610masl)
Applied for candidate status in 06
  PI: Yasuko Kasai, NICT / Referee: Frank Hase, IMK
  Existing site, candidate status effort ongoing <1y to completion
  Recent work on CO from biomass burning
  Typically outside polar vortex

## Slide 15
Syowa Station, Antarctica ( 69S, 39E, 20masl)
To apply for candidate status in 2009
  PI: Hideaki Nakajima, NIES / Referee: ??
  Instrument installed in 2007, candidate status effort to begin next year
  87 measurements in last 12months
  Ongoing measurements until ??
Observation Hut

## Slide 16
Il de la Reunion (21S, 55E, 2203masl)
To apply for candidate status in 2010
  PI: Martine De Maziere BIRA-IASB / Referee: Michael Coffey
  Observations by campaign basis, St Denis (near coast) and Piton du Maido
  New remote control system / LN2 / hatch / software, BARCOS
  Recent work in H2CO comparison FTS – MAXDOAS, CH3D retrievals, CO and comparisons with trajectory analysis (FLEXPART)
St Denis, 2004
Meteo mast
Suntracker
Notes: Biomass burning signatures in CO possible trade wind signature in CO profile at 5km

## Slide 17
Wollongong, Aus (35S, 151E, 25masl)
Instrument upgrade
  PI: David Griffith / Referee: Tom Gardiner, NPL
  Exchange of instrument at complementary site
  Expected completion by IRWG2009
Side–by-side measuerments of new Bruker 125hr and Bomem DA8 at U Wollongong
2+y record of H2CO monthly means compared with OMI

## Slide 18
Ascension Is. (8S, 14W)
New Instrument & Site
PIs: Dietrich G. Feist, Marc Geibel, Max Planck Inst. for Biogeochem. Jena, GR
Finish assembling June 2008 then automatic testing
Shipping December 2008
Currently no scientific infrastructure on island
Official request submitted to local administration
Once approved we can look for a suitable location and local support
NIR FTS

## Slide 19: Mobile / Transfer Instruments
NPL 120M
  Ny Alesund 1995, Eureka 1999, Kiruna 1998, Harestua 1994, Table Mtn 1996 + others
  Now upgraded to 125M
  In preparation for renewed field use (Gardiner)
NCAR Airborne Interferometer
  Continued development
  Target test deployment HEFT-3 flights aboard HAIPER aircraft summer 2009 or HEFT-4 spring 2010

## Slide 20: Improving Data Products by Conforming to a Consistent set of Retrieval Parameters
Parameters to Review
  Retrieval code
  Spectral pre-processing
  Altitude grid
  Fit µ-window(s)
  OPD [cm]
  Interfering species
    Fit first or simultaneously
  Spectroscopy
  á Priori profiles and covariance
  Spectral SNR
  Meteorology source
  Rejection criteria
Process
  Columns only
  Each group submit their current suite of retrieval parameters for each gas
  2 members coordinate the assimilation process for a given gas
  Coordinators submit recommendations by 1 Dec to all members (expect much commentary here!)
  Draft of complete set by 1 Mar
  Verification before IRWG 2009
  Ratification at IRWG 2009 in June

## Slide 21
O3 | T. Blumenstock | R. Lindenmaier
HCl | J. Hannigan | R. Batchelor
HF | S. Wood | P. Duchatelet
ClONO2 | N. Jones | J. Notholt
HNO3 | R. Blatherwick | N. Jones
N2O | M. De Mazière | F. Hase
CH4 | R. Sussmann | V. Velazco
CO | R. Batchelor | S. Wood
C2H6 | R. Batchelor | J. Hannigan
HCN | E. Mahieu | S. Wood
Species Coordinators