Beachon Rocs 2010

Instrument: Proton Transfer Reaction Time of Flight Mass Spectrometer (PTR-TOF) from the University of Innsbruck

Contact:

- Armin Hansel armin.hansel@uibk.ac.at

- Lisa Kaser lisa.kaser@uibk.ac.at

- Ralf Schnitzhofer ralf.schnitzhofer@uibk.ac.at

Format: ASCII text files, tab-delimited

Filenames: UIBK_PTR_TOF_2010_MMDD_to_MMDD.txt

Time Interval: 6 minute averages (calculated from 10Hz data)

Time Tag: Mid-point of the 6 minute period

Location: Manitou experimental forest (chemistry tower)

Measurement height: 25.3 m

Missing Data: NaN

Data columns:

1.	Year

2.	Month

3.	Day

4.	Hour

5.	Minute

6.	Second

7.	Day of year (DOY)

8.	Methanol [ppbV]

9.	Acetonitrile [ppbV]

10.	Acetaldehyde [ppbV]

11.	Acetone and Propanal [ppbV]

12.	MBO [ppbV]

13.	MVK and MACR [ppbV]

14.	Benzene [ppbV]

15.	MT [ppbV]

Calibration: All data are given in volume mixing ratios (ppbV). Conversion from counts per second (cps) to ppbV is done with calibration factors obtained from weekly calibration with a calibration gas standard(from E. Apel(NCAR)).

Background determination: The instrumental background was determined by passing the analyte air periodically (approx. every 7 hours) through a heated platinum catalyst.

Notes to the compounds:

m/z 33.034 was attributed to methanol

m/z 45.035 was attributed to acetonitrile

m/z 45.034 was attributed to acetaldehyde

m/z 59.050 was attributed to the sum of acetone and propanal. Acetone and propanal are isobaric species and cannot be distinguished by PTR-TOF-MS.

Methylbutenol (MBO) data is the sum of MBO (m/z 87.081) and the main fragment of MBO (m/z 69.070)

m/z 71.050 was attributed to the sum of MVK and MACR. Methyl vinyl ketone (MVK) and methacrolein (MACR) are isobaric species and cannot be distinguished by PTR-TOF-MS.

m/z 79.06 was attributed to benzene

Monoterpene (MT) data is the sum of MT fragment (m/z 81.071) and MT (m/z 137.13)

Note: All here given substances are rated class A masses because they are calibrated. Other masses (class B - uncalibrated) are available on request