## Slide 1
Sources and Processes Affecting the Chemical and Physical Properties of Denver Aerosol during DISCOVER-AQ
FRAPPÉ/DISCOVER-AQ Science Team Meeting
Christopher J. Hennigan
University of Maryland, Baltimore County
4 May 2015

## Slide 2
DISCOVER-AQ Colorado 2014
Image from NASA

## Slide 3
UMBC Measurement Approach
PM2.5 Organic Carbon (OC)
Elemental Carbon (EC)
Sunset Labs OCEC Field Analyzer
Time resolution: 30-min sample every 45 min
PM2.5 Inorganic Composition:
(Na+, NH4+, K+, Ca2+, Mg2+, Cl-, NO3-, SO42-)
Particle-into-Liquid Sampler with dual Ion Chromatographs (PILS-IC)
Time resolution: 20-min samples

## Slide 4
UMBC PM2.5 - Comprehensive
NREL-Golden ground site

## Slide 5
DISCOVER-AQ: Aerosol Concentrations
Predominance of organic aerosol species (Average = 75% of fine aerosol mass)

## Slide 6
Primary vs. Secondary OC in Denver

## Slide 7
Topography of Denver
Image from NASA

## Slide 8
NREL-Golden
12:00 to 15:00
15:00 to 18:00
18:00 to 21:00
21:00 to 00:00
0:00 to 3:00
3:00 to 6:00
6:00 to 9:00
9:00 to 12:00
Wind Speed (m/s)
> 10
8.5
< 1.4
7.0
5.5
3.9
2.4
1.9
1.4
Diurnal wind profile (local Time)

## Slide 9
Local vs. Regional Sources
(Thompson et al., Elementa, 2014)
· Red dot: active oil/gas well
WD: 18:00-09:00 local
WD: 09:00-15:00 local

## Slide 10
Golden: Local vs. Regional Sources
NREL-Golden UMBC measurements
~30% of Denver’s summertime PM2.5 appears to be from ‘local’ sources
~2.5 µg m-3 increase in PM2.5 (northeast source)

## Slide 11
Golden: Local vs. Regional Sources
Increase in PM2.5:
OM: +1.25 µg m-3 (x 1.25 increase)
NH4NO3: +1.0 µg m-3 (x 3 increase)
SO42-: +0.15 µg m-3 (x 1.25 increase)
EC: +0.1 µg m-3 (x 2 increase)
NREL-Golden UMBC measurements

## Slide 12
Local Sources: Transport vs. Chemistry
NREL-Golden UMBC measurements

## Slide 13
DISCOVER-AQ: Dust and Fire Impacts
Only major fire impact at NREL-Golden appears to be 18-20 July 2014
P-3 and C-130 flights on 20140720

## Slide 14
DISCOVER-AQ: Dust and Fire Impacts
Highest OC concentrations measured at NREL-Golden corresponded to K+ events

## Slide 15
DISCOVER-AQ: Dust and Fire Impacts
Fire and Thermal Anomalies 15 July 2014
Terra and Aqua/MODIS
5-day back trajectory

## Slide 16
DISCOVER-AQ: Dust and Fire Impacts

## Slide 17
DISCOVER-AQ: Dust and Fire Impacts
Major dust impacts at NREL-Golden appear to be: 21-23 July 2014
P-3 and C-130 flights on 20140722 and 20140723

## Slide 18
Aerosol Light Extinction

## Slide 19
Contributions to Aerosol Light Extinction

## Slide 20
DISCOVER-AQ: Preliminary Conclusions
Summer 2014: Aerosol composition in Golden was dominated by organics: most of this OA was secondary
Most of the PM was regional (~70%), but a strong local signature was evident most days (~30% of PM) – sources of the local PM (OM, NH4NO3, EC) need to be investigated
Aerosol extinction also showed a mid-day enhancement due to local sources (likely) and chemistry
Identified periods of fire and dust impact during the study (overall - limited)
Ongoing: ground-aircraft connections + BL evolution
Question: spatial distribution of aerosols during study (CAMP-Golden comparison)?

## Slide 21
Acknowledgements
UMBC – CBEE
Jared Johnson
Jessica Izumi
Michael Valerino
UMBC – Physics/JCET
Ray Hoff
Daniel Orozco
Ruben Delgado

## Slide 22
Backup Figures

## Slide 23
Sources of SOA: Regional

## Slide 24
0:00 to 3:00
CAMP
3:00 to 6:00
Wind Speed (m/s)
> 10
8.5
< 1.4
7.0
5.5
3.9
2.4
1.9
1.4
6:00 to 9:00
9:00 to 12:00
12:00 to 15:00
15:00 to 18:00
18:00 to 21:00
21:00 to 00:00
Diurnal wind profile (local time)

## Slide 25
NREL vs. CAMP Wind